## 安全衛生対策チェックリスト（一般）
Safety and Health Measures Checklist
Date of self-assessment | / /
Place of implementation | Building Floor Room name (#) （ ）
Conductors of self-assessment | Name Position Phone (extension)
Classification | Checklist |  | Self-evaluation (degree of achievement) | Special remarks | ５：達成している | 4
General matters | Fire prevention measures | There shall be no damage to electrical cords, outlets, etc., and no dust accumulation on the outlets. |  |  | ４：概ね達成している | 3
|  | No overloaded electrical wiring or the like shall be allowed, and the allowable power shall not be exceeded. |  |  | ３：半分程度達成している | 2
|  | No flammable materials shall be placed near fire. |  |  | ２：あまり達成できていない | 1
|  | Gas appliances and hoses shall be properly connected with fixtures and shall not be deteriorated or damaged. |  |  | １：全く達成できていない（実施していない） | 0
| Keeping things sorted and in order | Rooms shall be cleaned regularly and kept sorted and in order. |  |  | 該当無し | 4
| Securing passageways | Power cords, cables, etc. shall not obstruct traffic.
| Comfortable workplaces | Ventilation and air conditioning shall be in good working order, temperature and humidity shall be appropriate (18 to 28°C, 40 to 70%), and there shall be no unusual odors.
There shall be no burned-out bulbs, flickering, or other problems with indoor light fixtures.
Sinks, etc. shall be clean and free of damage, leaks, dirt, mold or the like.
Disaster Prevention Related Matters | Securing evacuation routes | No objects shall be placed in the interior passageways that would hinder passage or evacuation.
There shall be no objects or other items placed near entrances or exits that could hinder evacuation.
| Prevention from toppling over and fall prevention | Cabinets, shelves, etc. (especially with a height of 150 cm or more) in the room shall be fixed with L-shaped brackets, etc.
No items that could be dangerous if dropped shall be placed on cabinets, shelves, etc. in the room.
Workplace-specific matters
(1) In the “Self-evaluation” column, please enter the achievement rate on a 5-point scale: “5: Achieved”, “4: Generally achieved”, “3: Achieved about half”, “2: Not achieved”, “1: Not achieved at all (not implemented)” or “Not applicable” if not applicable. (2) After the check, reconfirmation will be made during the health manager's safety and health-related patrols. *For details of check items, please refer to the “衛生管理者のための巡視マニュアル” and “機器等転倒防止マニュアル” in “安全衛生” > “学内情報（お知らせ）” > “安全関係” on the faculty/staff homepage. (3) “Workplace-specific matters” shall be determined on a workplace-by-workplace basis as necessary.